## Solar daily sheet
From: | 2026-08-01 | To: | 2026-08-17
Locations |  | Daily | MTD | Solar Daily |  | Solar MTD
60KW Solar ( Above ATS) |  | 319 | 4489.0938 | 60KW Solar ( Above ATS) | 319 | 60KW Solar ( Above ATS) | 4489.0938
20KW Solar (Above Canteen ) |  | 89.5312 | 935.7656 | 20KW Solar (Above Canteen ) | 89.5312 | 20KW Solar (Above Canteen ) | 935.7656
110KW Solar (Above LT Room) |  | 239.668 | 3019.8711 | 110KW Solar (Above LT Room) | 239.668 | 110KW Solar (Above LT Room) | 3019.8711
230Kw Solar kit( chiller area 3to6) |  | 692.112 | 10266.5305 | 230Kw Solar kit( chiller area 3to6) | 692.112 | 230Kw Solar kit( chiller area 3to6) | 10266.5305
40 kW Solar (PECVD Pump Room) |  | 16.6745 | 514.009 | 40 kW Solar (PECVD Pump Room) | 16.6745 | 40 kW Solar (PECVD Pump Room) | 514.009
180kw Solar (hexa AHU area) |  | 469.23 | 7335.87 | 180kw Solar (hexa AHU area) | 469.23 | 180kw Solar (hexa AHU area) | 7335.87
Solar Near STP |  | 13.52 | 244.608 | Solar Near STP | 13.52 | Solar Near STP | 244.608
Solar Near Gate-1 Pathway Staircase |  | 185.024 | 2902.4 | Solar Near Staircase 1 | 185.024 | Solar Near Gate-1 Pathway Staircase | 2902.4
Solar Near Parking Area |  | 0 | 0 | Solar Near Parking Area | 0 | Solar Near Parking Area | 0
Total Solar |  | 2024.7597 | 29708.148 | Total Solar | 2024.7597 | Total Solar | 29708.148

## Monthly Solar Report
| kwh | 1440
| 2026-08-01 | 2026-08-18
Sr. No. | Locations |  | 2026-08-01 | 2026-08-02 | 2026-08-03 | 2026-08-04 | 2026-08-05 | 2026-08-06 | 2026-08-07 | 2026-08-08 | 2026-08-09 | 2026-08-10 | 2026-08-11 | 2026-08-12 | 2026-08-13 | 2026-08-14 | 2026-08-15 | 2026-08-16 | 2026-08-17 | 2026-08-18 | 2026-08-19 | 2026-08-20 | 2026-08-21 | 2026-08-22 | 2026-08-23 | 2026-08-24 | 2026-08-25 | 2026-08-26 | 2026-08-27 | 2026-08-28 | 2026-08-29 | 2026-08-30 | 2026-08-31 | Total
1 | 60KW Solar ( Above ATS) | 11878 | 2026-08-01: 241.5938; 2026-08-02: 259.5; 2026-08-03: 212.8125; 2026-08-04: 219.0938; 2026-08-05: 253.7188; 2026-08-06: 259.4688; 2026-08-07: 170.8125; 2026-08-08: 283.375; 2026-08-09: 242.9062; 2026-08-10: 264.9688; 2026-08-11: 284.3438; 2026-08-12: 306.1875; 2026-08-13: 313.3438; 2026-08-14: 289.75; 2026-08-15: 271.2188; 2026-08-16: 297; 2026-08-17: 319 | 4489.0938
2 | 20KW Solar (Above Canteen ) | 11912 | 2026-08-01: 71.0625; 2026-08-02: 77.625; 2026-08-03: 51.1562; 2026-08-04: 62.7656; 2026-08-05: 20.6094; 2026-08-06: 44.6094; 2026-08-07: 23.2656; 2026-08-08: 18.8438; 2026-08-09: 18.4219; 2026-08-10: 29.7344; 2026-08-11: 44.0625; 2026-08-12: 48.6094; 2026-08-13: 92.9375; 2026-08-14: 87.625; 2026-08-15: 53.5; 2026-08-16: 101.4062; 2026-08-17: 89.5312 | 935.7656
3 | 110KW Solar (Above LT Room) | 12275 | 2026-08-01: 189.1113; 2026-08-02: 208.4115; 2026-08-03: 157.7174; 2026-08-04: 169.8223; 2026-08-05: 183.75; 2026-08-06: 163.8068; 2026-08-07: 108.2518; 2026-08-08: 188.8926; 2026-08-09: 169.3371; 2026-08-10: 208.6944; 2026-08-11: 172.8689; 2026-08-12: 109.4693; 2026-08-13: 127.4389; 2026-08-14: 157.332; 2026-08-15: 191.6463; 2026-08-16: 273.6525; 2026-08-17: 239.668 | 3019.8711
4 | 230Kw Solar kit( chiller area 3to6) | 23137 | 2026-08-01: 535.708; 2026-08-02: 590.5125; 2026-08-03: 450.715; 2026-08-04: 482.597; 2026-08-05: 587.595; 2026-08-06: 548.901; 2026-08-07: 371.741; 2026-08-08: 609.605; 2026-08-09: 559.779; 2026-08-10: 685.03; 2026-08-11: 670.603; 2026-08-12: 679.339; 2026-08-13: 713.989; 2026-08-14: 665.409; 2026-08-15: 645.913; 2026-08-16: 776.982; 2026-08-17: 692.112 | 10266.5305
5 | 40 kW Solar (PECVD Pump Room) | 22957 | 2026-08-01: 28.948; 2026-08-02: 32.0118; 2026-08-03: 23.1525; 2026-08-04: 26.5462; 2026-08-05: 30.6075; 2026-08-06: 28.97; 2026-08-07: 18.8025; 2026-08-08: 33.0073; 2026-08-09: 30.8265; 2026-08-10: 32.9435; 2026-08-11: 36.5055; 2026-08-12: 34.509; 2026-08-13: 37.633; 2026-08-14: 29.7585; 2026-08-15: 33.7337; 2026-08-16: 39.379; 2026-08-17: 16.6745 | 514.009
6 | 180kw Solar (hexa AHU area) | 22958 | 2026-08-01: 393.316; 2026-08-02: 422.342; 2026-08-03: 331.164; 2026-08-04: 350.814; 2026-08-05: 430.78; 2026-08-06: 402.748; 2026-08-07: 278.458; 2026-08-08: 447.386; 2026-08-09: 394.512; 2026-08-10: 474.616; 2026-08-11: 472.674; 2026-08-12: 479.836; 2026-08-13: 505.148; 2026-08-14: 473.792; 2026-08-15: 466.346; 2026-08-16: 542.708; 2026-08-17: 469.23 | 7335.87
7 | Solar Near STP | 40236 | 2026-08-01: 12.224; 2026-08-02: 13.856; 2026-08-03: 8.288; 2026-08-04: 11.232; 2026-08-05: 14.192; 2026-08-06: 13.456; 2026-08-07: 8.08; 2026-08-08: 15.84; 2026-08-09: 15.056; 2026-08-10: 16.976; 2026-08-11: 17.888; 2026-08-12: 16.064; 2026-08-13: 17.744; 2026-08-14: 15.872; 2026-08-15: 15.856; 2026-08-16: 18.464; 2026-08-17: 13.52 | 244.608
8 | Solar Near Gate-1 Pathway Staircase | 40237 | 2026-08-01: 161.6; 2026-08-02: 175.68; 2026-08-03: 128.192; 2026-08-04: 140.48; 2026-08-05: 174.912; 2026-08-06: 160; 2026-08-07: 107.136; 2026-08-08: 182.528; 2026-08-09: 168.96; 2026-08-10: 177.152; 2026-08-11: 185.344; 2026-08-12: 187.648; 2026-08-13: 191.616; 2026-08-14: 182.336; 2026-08-15: 187.136; 2026-08-16: 206.656; 2026-08-17: 185.024 | 2902.4
9 | Solar Near Parking Area | 40238 | 2026-08-01: 0; 2026-08-02: 0; 2026-08-03: 0; 2026-08-04: 0; 2026-08-05: 0; 2026-08-06: 0; 2026-08-07: 0; 2026-08-08: 0; 2026-08-09: 0; 2026-08-10: 0; 2026-08-11: 0; 2026-08-12: 0; 2026-08-13: 0; 2026-08-14: 0; 2026-08-15: 0; 2026-08-16: 0; 2026-08-17: 0 | 0
| Total |  | 1633.5636 | 1779.9388 | 1363.1976 | 1463.3509 | 1696.1646 | 1621.9599 | 1086.5474 | 1779.4776 | 1599.7987 | 1890.115 | 1884.2897 | 1861.6622 | 1999.8502 | 1901.8745 | 1865.3498 | 2256.2478 | 2024.7597 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29708.148

## 60KW Solar ( Above ATS)
11878
From: | 2026-08-17 06:00 | Daily Report |  |  | To: | 2026-08-18 06:00 | 15
Slot No. | Timestamp | kWh | kVAh | kW | kVA | current | P.F.
Maximum | - | 13.1615 | 13.224 | 56.1865 | 56.2595 | 78.231 | 0.99869
Minimum | - | 0 | 0 | -0.058401 | 0 | 0 | 0
Average | - | 3.3229 | 3.3841 | 13.4644 | 13.7601 | 19.2614 | 0.47101
Total | - | 319 | 324.875 | - | - | - | -
| 46251.25 | 0 | 0.12812 | 0.0072818 | 0.45255 | 0.64044 | 0.01609
| 46251.2604 | 0.12131 | 0.70087 | 0.48683 | 2.8696 | 4.0394 | 0.1692
| 46251.2708 | 0.40797 | 0.80917 | 1.644 | 3.1783 | 4.4475 | 0.50797
| 46251.2812 | 0.99415 | 1.2319 | 3.9675 | 5.0424 | 7.0048 | 0.77711
| 46251.2917 | 1.3578 | 1.5549 | 5.5435 | 6.2417 | 8.7492 | 0.88469
| 46251.3021 | 1.7234 | 1.9079 | 6.46 | 7.0934 | 10.036 | 0.90966
| 46251.3125 | 2.3204 | 2.4304 | 8.9192 | 9.3719 | 13.3174 | 0.95125
| 46251.3229 | 3.8679 | 3.9207 | 15.2886 | 15.5818 | 21.8483 | 0.98092
| 46251.3333 | 4.6244 | 4.6982 | 19.5642 | 19.7725 | 27.789 | 0.98924
| 46251.3438 | 5.3702 | 5.3827 | 22.0966 | 22.2827 | 31.1179 | 0.99159
| 46251.3542 | 6.5481 | 6.6228 | 26.4821 | 26.6268 | 37.5508 | 0.99448
| 46251.3646 | 6.6805 | 6.7222 | 27.8162 | 28.0095 | 39.2225 | 0.99309
| 46251.375 | 8.2271 | 8.2583 | 32.768 | 32.9569 | 46.1414 | 0.99426
| 46251.3854 | 8.7334 | 8.7959 | 35.3246 | 35.5232 | 50.0243 | 0.99439
| 46251.3958 | 9.8495 | 9.8732 | 39.4864 | 39.6163 | 55.0946 | 0.99672
| 46251.4062 | 10.2372 | 10.276 | 41.1958 | 41.3595 | 57.6817 | 0.99605
| 46251.4167 | 7.83 | 7.8925 | 39.0411 | 39.239 | 54.5844 | 0.99494
| 46251.4271 | 11.4052 | 11.4677 | 44.5663 | 44.768 | 62.3436 | 0.99513
| 46251.4375 | 11.4402 | 11.4658 | 44.345 | 44.4909 | 61.949 | 0.99648
| 46251.4479 | 10.4872 | 10.4994 | 47.3144 | 47.3998 | 66.9689 | 0.9981
| 46251.4583 | 9.0438 | 9.0873 | 35.0419 | 35.1626 | 49.445 | 0.99624
| 46251.4688 | 10.0117 | 10.024 | 42.0875 | 42.1782 | 59.2845 | 0.99777
| 46251.4792 | 9.8668 | 9.898 | 38.7557 | 38.8807 | 54.5688 | 0.99654
| 46251.4896 | 9.8452 | 9.8764 | 37.4356 | 37.5756 | 52.2122 | 0.99585
| 46251.5 | 11.0193 | 11.0505 | 42.8039 | 42.9498 | 59.9079 | 0.9963
| 46251.5104 | 13.1615 | 13.224 | 56.1865 | 56.2595 | 78.231 | 0.99869
| 46251.5208 | 5.658 | 5.7198 | 23.1274 | 23.3566 | 32.292 | 0.98617
| 46251.5312 | 7.7194 | 7.7316 | 33.514 | 33.6432 | 46.4554 | 0.99553
| 46251.5417 | 12.6439 | 12.6563 | 50.9567 | 51.0681 | 71.4533 | 0.99761
| 46251.5521 | 11.7074 | 11.7149 | 45.2389 | 45.3333 | 63.4675 | 0.99771
| 46251.5625 | 10.8257 | 10.8569 | 43.8873 | 43.9897 | 61.4762 | 0.99754
| 46251.5729 | 8.4378 | 8.4708 | 32.8843 | 32.9961 | 46.2038 | 0.99644
| 46251.5833 | 10.1494 | 10.1789 | 41.2397 | 41.3695 | 57.8544 | 0.99686
| 46251.5938 | 9.0982 | 9.1379 | 36.6441 | 36.7606 | 51.691 | 0.99682
| 46251.6042 | 9.5757 | 9.6024 | 38.8595 | 38.9843 | 54.9332 | 0.99677
| 46251.6146 | 8.7138 | 8.7574 | 35.1596 | 35.3344 | 50.0355 | 0.99503
| 46251.625 | 8.3979 | 8.4469 | 32.9308 | 33.1428 | 46.7345 | 0.99333
| 46251.6354 | 5.768 | 5.8277 | 23.4074 | 23.703 | 33.3909 | 0.98718
| 46251.6458 | 6.759 | 6.8527 | 27.0222 | 27.266 | 38.4053 | 0.99064
| 46251.6562 | 4.6254 | 4.7133 | 18.5267 | 18.8468 | 26.424 | 0.98183
| 46251.6667 | 4.0707 | 4.1703 | 16.5088 | 16.9863 | 23.65 | 0.96919
| 46251.6771 | 4.2527 | 4.3502 | 16.8141 | 17.1948 | 23.9587 | 0.97728
| 46251.6875 | 2.9191 | 3.0405 | 11.4249 | 12.0177 | 16.7603 | 0.94974
| 46251.6979 | 2.6266 | 2.8141 | 10.6855 | 11.1929 | 15.5648 | 0.95424
| 46251.7083 | 3.3109 | 3.4027 | 13.1733 | 13.7171 | 19.1756 | 0.9604
| 46251.7188 | 2.7378 | 2.8985 | 10.8458 | 11.3464 | 15.9055 | 0.95439
| 46251.7292 | 1.9909 | 2.1227 | 7.7308 | 8.4543 | 11.8459 | 0.91302
| 46251.7396 | 1.1192 | 1.4381 | 4.595 | 5.688 | 8.0088 | 0.80396
| 46251.75 | 0.58443 | 1.0707 | 2.307 | 4.3105 | 6.032 | 0.52736
| 46251.7604 | 0.13412 | 0.8148 | 0.54244 | 3.3524 | 4.7024 | 0.15559
| 46251.7708 | 0 | 0.28613 | -0.015171 | 3.2463 | 4.5686 | 0.008206
| 46251.7812 | 0 | 0 | -0.058401 | 2.7831 | 3.8996 | 0.020975
| 46251.7917 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8021 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8125 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8229 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8333 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8438 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8542 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8646 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.875 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8854 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8958 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9062 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9167 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9271 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9375 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9479 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9583 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9688 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9792 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9896 | 0 | 0 | 0 | 0 | 0 | 0
| 46252 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0104 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0208 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0312 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0417 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0521 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0625 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0729 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0833 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0938 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1042 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1146 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.125 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1354 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1458 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1562 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1667 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1771 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1875 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1979 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.2083 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.2188 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.2292 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.2396 | 0 | 0 | 0 | 0 | 0 | 0

## 20KW Solar (Above Canteen )
11912
From: | 2026-08-17 06:00 | Daily Report |  |  | To: | 2026-08-18 06:00 | 15
Slot No. | Timestamp | kWh | kVAh | kW | kVA | current | P.F.
Maximum | - | 3.7703 | 3.7804 | 14.9676 | 15.0251 | 20.7779 | 0.99607
Minimum | - | 0 | 0.023847 | 0.0032034 | 0.13998 | 0.19874 | 0.022646
Average | - | 0.93262 | 0.95994 | 3.7017 | 3.811 | 5.2921 | 0.50113
Total | - | 89.5312 | 92.154 | - | - | - | -
| 46251.25 | 0 | 0.03558 | 0.0032034 | 0.14144 | 0.20036 | 0.022646
| 46251.2604 | 0.018382 | 0.10566 | 0.086875 | 0.38238 | 0.53528 | 0.14799
| 46251.2708 | 0.10271 | 0.1852 | 0.39925 | 0.70872 | 0.9885 | 0.55423
| 46251.2812 | 0.22734 | 0.2512 | 0.90356 | 1.073 | 1.4937 | 0.83494
| 46251.2917 | 0.3198 | 0.36218 | 1.3513 | 1.4604 | 2.0415 | 0.92414
| 46251.3021 | 0.4132 | 0.41513 | 1.6275 | 1.7179 | 2.415 | 0.94481
| 46251.3125 | 0.52419 | 0.55572 | 2.0701 | 2.1506 | 3.0481 | 0.96174
| 46251.3229 | 0.68789 | 0.71552 | 2.7015 | 2.7736 | 3.8858 | 0.97382
| 46251.3333 | 1.0767 | 1.087 | 4.1898 | 4.2457 | 5.9329 | 0.98618
| 46251.3438 | 1.4774 | 1.4819 | 5.764 | 5.8083 | 8.0767 | 0.99225
| 46251.3542 | 1.8848 | 1.9067 | 7.5111 | 7.5575 | 10.5685 | 0.99381
| 46251.3646 | 1.877 | 1.9165 | 7.382 | 7.4286 | 10.3189 | 0.99358
| 46251.375 | 2.3438 | 2.3166 | 9.4407 | 9.4909 | 13.2116 | 0.99469
| 46251.3854 | 2.5062 | 2.5158 | 10.135 | 10.1852 | 14.1905 | 0.99507
| 46251.3958 | 2.8547 | 2.8765 | 11.4184 | 11.4708 | 15.8562 | 0.99543
| 46251.4062 | 2.9854 | 2.9611 | 11.9369 | 11.9902 | 16.6087 | 0.99555
| 46251.4167 | 2.6791 | 2.7637 | 10.8076 | 10.8605 | 14.8848 | 0.99482
| 46251.4271 | 3.367 | 3.3509 | 13.4284 | 13.4845 | 18.506 | 0.99577
| 46251.4375 | 3.5108 | 3.5231 | 13.8612 | 13.918 | 19.1523 | 0.99583
| 46251.4479 | 3.2453 | 3.2743 | 13.1523 | 13.2068 | 18.452 | 0.99566
| 46251.4583 | 2.5324 | 2.5119 | 9.9208 | 9.9707 | 13.8697 | 0.9948
| 46251.4688 | 2.7703 | 2.8002 | 11.1347 | 11.1876 | 15.5398 | 0.99518
| 46251.4792 | 2.8267 | 2.8048 | 10.9171 | 10.9687 | 15.2957 | 0.99518
| 46251.4896 | 2.7352 | 2.7941 | 10.8509 | 10.9019 | 15.1815 | 0.99518
| 46251.5 | 3.1483 | 3.1014 | 12.2099 | 12.2638 | 16.9768 | 0.99545
| 46251.5104 | 3.7703 | 3.7804 | 14.9676 | 15.0251 | 20.7779 | 0.99607
| 46251.5208 | 1.495 | 1.6643 | 5.5339 | 5.5842 | 7.7018 | 0.98936
| 46251.5312 | 2.346 | 2.2493 | 9.4329 | 9.4839 | 13.0533 | 0.99393
| 46251.5417 | 3.696 | 3.6926 | 14.4253 | 14.4816 | 20.083 | 0.99602
| 46251.5521 | 3.5113 | 3.5316 | 13.356 | 13.4115 | 18.5864 | 0.99566
| 46251.5625 | 3.2414 | 3.173 | 12.492 | 12.5469 | 17.1968 | 0.99545
| 46251.5729 | 2.3504 | 2.4322 | 9.4159 | 9.4663 | 13.1387 | 0.99442
| 46251.5833 | 2.8784 | 2.9272 | 11.6591 | 11.7125 | 16.236 | 0.99544
| 46251.5938 | 2.5575 | 2.5589 | 10.243 | 10.2935 | 14.3819 | 0.9951
| 46251.6042 | 2.6637 | 2.6777 | 10.5851 | 10.6368 | 14.8537 | 0.99512
| 46251.6146 | 2.2773 | 2.288 | 9.1476 | 9.1958 | 12.9015 | 0.99475
| 46251.625 | 2.1896 | 2.1705 | 8.8211 | 8.8695 | 12.3879 | 0.99452
| 46251.6354 | 1.4709 | 1.513 | 5.9632 | 6.0077 | 8.3727 | 0.9925
| 46251.6458 | 1.7891 | 1.7941 | 6.9798 | 7.0253 | 9.8096 | 0.9934
| 46251.6562 | 1.1715 | 1.1804 | 4.5604 | 4.6029 | 6.4822 | 0.99024
| 46251.6667 | 1.0258 | 1.0404 | 4.1026 | 4.1484 | 5.7725 | 0.98841
| 46251.6771 | 1.073 | 1.086 | 4.3374 | 4.3814 | 6.0888 | 0.98974
| 46251.6875 | 0.71542 | 0.72977 | 2.87 | 2.9437 | 4.1105 | 0.97379
| 46251.6979 | 0.66044 | 0.69183 | 2.6753 | 2.7553 | 3.8176 | 0.97054
| 46251.7083 | 0.83413 | 0.86676 | 3.3358 | 3.4057 | 4.719 | 0.97943
| 46251.7188 | 0.68177 | 0.67148 | 3.3348 | 3.399 | 4.747 | 0.98078
| 46251.7292 | 0.47519 | 0.50681 | 1.9506 | 2.0464 | 2.8622 | 0.95139
| 46251.7396 | 0.27788 | 0.329 | 0.97263 | 1.1407 | 1.597 | 0.8522
| 46251.75 | 0.13511 | 0.1885 | 0.51321 | 0.74945 | 1.0579 | 0.68295
| 46251.7604 | 0.033329 | 0.12431 | 0.15321 | 0.56311 | 0.7891 | 0.2717
| 46251.7708 | 0.0024251 | 0.04095 | 0.0032718 | 0.14432 | 0.20262 | 0.022681
| 46251.7812 | 0 | 0.033522 | 0.0061973 | 0.14322 | 0.20111 | 0.043258
| 46251.7917 | 0 | 0.03553 | 0.0070513 | 0.14271 | 0.20059 | 0.049409
| 46251.8021 | 0 | 0.038984 | 0.0072821 | 0.14522 | 0.20227 | 0.050142
| 46251.8125 | 0 | 0.030339 | 0.0071308 | 0.14331 | 0.20103 | 0.049756
| 46251.8229 | 0 | 0.0335 | 0.0072167 | 0.1426 | 0.20065 | 0.050608
| 46251.8333 | 0 | 0.04226 | 0.0071245 | 0.14152 | 0.1999 | 0.050339
| 46251.8438 | 0 | 0.044885 | 0.007105 | 0.14182 | 0.2 | 0.050099
| 46251.8542 | 0.015625 | 0.026388 | 0.0071792 | 0.14279 | 0.20068 | 0.050276
| 46251.8646 | 0 | 0.042717 | 0.0073584 | 0.14487 | 0.20227 | 0.050791
| 46251.875 | 0 | 0.036965 | 0.0070627 | 0.13998 | 0.19874 | 0.050456
| 46251.8854 | 0 | 0.029925 | 0.0072104 | 0.14078 | 0.19943 | 0.051219
| 46251.8958 | 0 | 0.039845 | 0.0071691 | 0.14161 | 0.20002 | 0.050625
| 46251.9062 | 0 | 0.030048 | 0.0071854 | 0.1427 | 0.20089 | 0.050355
| 46251.9167 | 0 | 0.038445 | 0.0072807 | 0.14375 | 0.20156 | 0.050648
| 46251.9271 | 0 | 0.035557 | 0.0071753 | 0.14211 | 0.20039 | 0.05049
| 46251.9375 | 0 | 0.023847 | 0.0071946 | 0.14314 | 0.20101 | 0.050261
| 46251.9479 | 0.015625 | 0.046619 | 0.0073218 | 0.14609 | 0.20329 | 0.050118
| 46251.9583 | 0 | 0.032234 | 0.0074505 | 0.14753 | 0.20421 | 0.0505
| 46251.9688 | 0 | 0.03717 | 0.0070002 | 0.14139 | 0.1998 | 0.049513
| 46251.9792 | 0 | 0.035454 | 0.0076759 | 0.14233 | 0.2006 | 0.053954
| 46251.9896 | 0 | 0.028458 | 0.0070899 | 0.14119 | 0.19971 | 0.050215
| 46252 | 0 | 0.038558 | 0.0071973 | 0.14257 | 0.2006 | 0.050483
| 46252.0104 | 0 | 0.038008 | 0.0071243 | 0.14156 | 0.1998 | 0.050328
| 46252.0208 | 0 | 0.030944 | 0.0073037 | 0.14381 | 0.20148 | 0.050789
| 46252.0312 | 0 | 0.055129 | 0.0073119 | 0.14289 | 0.20093 | 0.051175
| 46252.0417 | 0.015625 | 0.032291 | 0.0073452 | 0.14483 | 0.20239 | 0.050717
| 46252.0521 | 0 | 0.035531 | 0.0072955 | 0.14559 | 0.20366 | 0.050093
| 46252.0625 | 0 | 0.035538 | 0.0073447 | 0.1447 | 0.20227 | 0.050757
| 46252.0729 | 0 | 0.038184 | 0.0074249 | 0.14723 | 0.20424 | 0.050428
| 46252.0833 | 0 | 0.03125 | 0.0073368 | 0.14536 | 0.20286 | 0.050474
| 46252.0938 | 0 | 0.03328 | 0.0073997 | 0.14651 | 0.20374 | 0.050511
| 46252.1042 | 0 | 0.037518 | 0.0072448 | 0.14395 | 0.20171 | 0.050328
| 46252.1146 | 0 | 0.037326 | 0.0074005 | 0.14698 | 0.20405 | 0.050348
| 46252.125 | 0 | 0.032501 | 0.0074336 | 0.14727 | 0.20419 | 0.050473
| 46252.1354 | 0.015625 | 0.03125 | 0.0073518 | 0.14597 | 0.20325 | 0.050369
| 46252.1458 | 0 | 0.039001 | 0.0073242 | 0.14698 | 0.20398 | 0.049831
| 46252.1562 | 0 | 0.035577 | 0.0073971 | 0.14783 | 0.2046 | 0.050038
| 46252.1667 | 0 | 0.034797 | 0.0073352 | 0.14682 | 0.20381 | 0.049961
| 46252.1771 | 0 | 0.033626 | 0.0074211 | 0.14731 | 0.20443 | 0.050378
| 46252.1875 | 0 | 0.03976 | 0.0073457 | 0.14468 | 0.20235 | 0.050772
| 46252.1979 | 0 | 0.039803 | 0.0073474 | 0.14662 | 0.20383 | 0.050115
| 46252.2083 | 0 | 0.039856 | 0.0071807 | 0.14335 | 0.20135 | 0.050098
| 46252.2188 | 0.03125 | 0.040008 | 0.0074263 | 0.14615 | 0.20338 | 0.050814
| 46252.2292 | 0 | 0.044392 | 0.0073765 | 0.14441 | 0.20213 | 0.051079
| 46252.2396 | 0 | 0.035517 | 0.0072023 | 0.14267 | 0.20086 | 0.050483

## 40 kW Solar (PECVD Pump Room)
22957
From: | 2026-08-17 06:00 | Daily Report |  |  | To: | 2026-08-18 06:00 | 15
Slot No. | Timestamp | kWh | kVAh | kW | kVA | current | P.F.
Maximum | - | 1.0234 | 0 | 4.0897 | 0 | 5.8658 | 0.99143
Minimum | - | 0 | 0 | 0 | 0 | 0 | 0
Average | - | 0.17369 | 0 | 0.73643 | 0 | 1.4086 | 0.3152
Total | - | 16.6745 | 0 | - | - | - | -
| 46251.25 | 0 | 0 | 4e-20 | 0 | 0.56181 | 1e-18
| 46251.2604 | 0 | 0 | 4e-20 | 0 | 0.30682 | 1e-18
| 46251.2708 | 0.0056875 | 0 | 0.027095 | 0 | 0.33194 | 0.061196
| 46251.2812 | 0.074365 | 0 | 0.30456 | 0 | 0.77246 | 0.54934
| 46251.2917 | 0.12082 | 0 | 0.49177 | 0 | 0.94982 | 0.73527
| 46251.3021 | 0.14995 | 0 | 0.601 | 0 | 1.0701 | 0.80198
| 46251.3125 | 0.18668 | 0 | 0.75496 | 0 | 1.2649 | 0.8582
| 46251.3229 | 0.24298 | 0 | 0.97147 | 0 | 1.5238 | 0.90785
| 46251.3333 | 0.29178 | 0 | 1.1655 | 0 | 1.7852 | 0.93233
| 46251.3438 | 0.32879 | 0 | 1.3139 | 0 | 1.9713 | 0.94439
| 46251.3542 | 0.39885 | 0 | 1.5951 | 0 | 2.3686 | 0.96068
| 46251.3646 | 0.47174 | 0 | 1.8587 | 0 | 2.7342 | 0.96248
| 46251.375 | 0.6098 | 0 | 2.4686 | 0 | 3.5872 | 0.97647
| 46251.3854 | 0.65147 | 0 | 2.5958 | 0 | 3.7754 | 0.97825
| 46251.3958 | 0.74323 | 0 | 2.9761 | 0 | 4.2412 | 0.98596
| 46251.4062 | 0.78351 | 0 | 3.1199 | 0 | 4.4592 | 0.98725
| 46251.4167 | 0.7777 | 0 | 3.1824 | 0 | 4.5555 | 0.98331
| 46251.4271 | 0.9324 | 0 | 3.6502 | 0 | 5.2175 | 0.98545
| 46251.4375 | 0.9958 | 0 | 3.8591 | 0 | 5.4778 | 0.99116
| 46251.4479 | 1.0234 | 0 | 4.0897 | 0 | 5.8399 | 0.99143
| 46251.4583 | 0.68355 | 0 | 3.7942 | 0 | 5.449 | 0.99091
| 46251.4688 | 0.020781 | 0 | 0 | 0 | 0 | 0
| 46251.4792 | 0.020781 | 0 | 0 | 0 | 0 | 0
| 46251.4896 | 0.020781 | 0 | 0 | 0 | 0 | 0
| 46251.5 | 0.020781 | 0 | 0 | 0 | 0 | 0
| 46251.5104 | 0.47547 | 0 | 3.9685 | 0 | 5.8658 | 0.66232
| 46251.5208 | 0.45098 | 0 | 3.0193 | 0 | 4.3311 | 0.97081
| 46251.5312 | 0.0068806 | 0 | 0 | 0 | 0 | 0
| 46251.5417 | 0.0068806 | 0 | 0 | 0 | 0 | 0
| 46251.5521 | 0.0068806 | 0 | 0 | 0 | 0 | 0
| 46251.5625 | 0.0068806 | 0 | 0 | 0 | 0 | 0
| 46251.5729 | 0.0068806 | 0 | 0 | 0 | 0 | 0
| 46251.5833 | 0.0068806 | 0 | 0 | 0 | 0 | 0
| 46251.5938 | 0.0068806 | 0 | 0 | 0 | 0 | 0
| 46251.6042 | 0.0068806 | 0 | 0 | 0 | 0 | 0
| 46251.6146 | 0.75462 | 0 | 3.3829 | 0 | 5.0044 | 0.82612
| 46251.625 | 0.84641 | 0 | 3.346 | 0 | 4.9047 | 0.86873
| 46251.6354 | 0.63549 | 0 | 2.5811 | 0 | 3.7638 | 0.97657
| 46251.6458 | 0.81156 | 0 | 3.1876 | 0 | 4.6045 | 0.9854
| 46251.6562 | 0.51985 | 0 | 2.1058 | 0 | 3.0739 | 0.97004
| 46251.6667 | 0.4361 | 0 | 1.7274 | 0 | 2.5604 | 0.9485
| 46251.6771 | 0.48043 | 0 | 1.9269 | 0 | 2.8231 | 0.9615
| 46251.6875 | 0.30325 | 0 | 1.2184 | 0 | 1.8928 | 0.90608
| 46251.6979 | 0.28759 | 0 | 1.1373 | 0 | 1.7721 | 0.90282
| 46251.7083 | 0.37194 | 0 | 1.4547 | 0 | 2.1985 | 0.93643
| 46251.7188 | 0.31371 | 0 | 1.2991 | 0 | 2.0063 | 0.9116
| 46251.7292 | 0.21669 | 0 | 0.87031 | 0 | 1.4487 | 0.85096
| 46251.7396 | 0.12107 | 0 | 0.49299 | 0 | 0.97939 | 0.7112
| 46251.75 | 0.038656 | 0 | 0.15906 | 0 | 0.68437 | 0.28649
| 46251.7604 | 0 | 0 | 4e-20 | 0 | 0.48999 | 1e-18
| 46251.7708 | 0 | 0 | 4e-20 | 0 | 0.59507 | 1e-18
| 46251.7812 | 0 | 0 | 4e-20 | 0 | 0.66292 | 1e-18
| 46251.7917 | 0 | 0 | 4e-20 | 0 | 0.62472 | 1e-18
| 46251.8021 | 0 | 0 | 4e-20 | 0 | 0.62727 | 1e-18
| 46251.8125 | 0 | 0 | 4e-20 | 0 | 0.61899 | 1e-18
| 46251.8229 | 0 | 0 | 4e-20 | 0 | 0.61848 | 1e-18
| 46251.8333 | 0 | 0 | 4e-20 | 0 | 0.62391 | 1e-18
| 46251.8438 | 0 | 0 | 4e-20 | 0 | 0.62313 | 1e-18
| 46251.8542 | 0 | 0 | 4e-20 | 0 | 0.62787 | 1e-18
| 46251.8646 | 0 | 0 | 4e-20 | 0 | 0.63494 | 1e-18
| 46251.875 | 0 | 0 | 4e-20 | 0 | 0.621 | 1e-18
| 46251.8854 | 0 | 0 | 4e-20 | 0 | 0.623 | 1e-18
| 46251.8958 | 0 | 0 | 4e-20 | 0 | 0.61902 | 1e-18
| 46251.9062 | 0 | 0 | 4e-20 | 0 | 0.61868 | 1e-18
| 46251.9167 | 0 | 0 | 4e-20 | 0 | 0.62221 | 1e-18
| 46251.9271 | 0 | 0 | 4e-20 | 0 | 0.61997 | 1e-18
| 46251.9375 | 0 | 0 | 4e-20 | 0 | 0.62398 | 1e-18
| 46251.9479 | 0 | 0 | 4e-20 | 0 | 0.62701 | 1e-18
| 46251.9583 | 0 | 0 | 4e-20 | 0 | 0.61429 | 1e-18
| 46251.9688 | 0 | 0 | 4e-20 | 0 | 0.61803 | 1e-18
| 46251.9792 | 0 | 0 | 4e-20 | 0 | 0.61462 | 1e-18
| 46251.9896 | 0 | 0 | 4e-20 | 0 | 0.61747 | 1e-18
| 46252 | 0 | 0 | 4e-20 | 0 | 0.61125 | 1e-18
| 46252.0104 | 0 | 0 | 4e-20 | 0 | 0.61429 | 1e-18
| 46252.0208 | 0 | 0 | 4e-20 | 0 | 0.6197 | 1e-18
| 46252.0312 | 0 | 0 | 4e-20 | 0 | 0.62058 | 1e-18
| 46252.0417 | 0 | 0 | 4e-20 | 0 | 0.62063 | 1e-18
| 46252.0521 | 0 | 0 | 4e-20 | 0 | 0.62422 | 1e-18
| 46252.0625 | 0 | 0 | 4e-20 | 0 | 0.61918 | 1e-18
| 46252.0729 | 0 | 0 | 4e-20 | 0 | 0.62869 | 1e-18
| 46252.0833 | 0 | 0 | 4e-20 | 0 | 0.62193 | 1e-18
| 46252.0938 | 0 | 0 | 4e-20 | 0 | 0.62391 | 1e-18
| 46252.1042 | 0 | 0 | 4e-20 | 0 | 0.61588 | 1e-18
| 46252.1146 | 0 | 0 | 4e-20 | 0 | 0.62385 | 1e-18
| 46252.125 | 0 | 0 | 4e-20 | 0 | 0.61739 | 1e-18
| 46252.1354 | 0 | 0 | 4e-20 | 0 | 0.61897 | 1e-18
| 46252.1458 | 0 | 0 | 4e-20 | 0 | 0.62473 | 1e-18
| 46252.1562 | 0 | 0 | 4e-20 | 0 | 0.61601 | 1e-18
| 46252.1667 | 0 | 0 | 4e-20 | 0 | 0.62112 | 1e-18
| 46252.1771 | 0 | 0 | 4e-20 | 0 | 0.62005 | 1e-18
| 46252.1875 | 0 | 0 | 4e-20 | 0 | 0.62601 | 1e-18
| 46252.1979 | 0 | 0 | 4e-20 | 0 | 0.62541 | 1e-18
| 46252.2083 | 0 | 0 | 4e-20 | 0 | 0.6118 | 1e-18
| 46252.2188 | 0 | 0 | 4e-20 | 0 | 0.62127 | 1e-18
| 46252.2292 | 0 | 0 | 4e-20 | 0 | 0.61722 | 1e-18
| 46252.2396 | 0 | 0 | 4e-20 | 0 | 0.61745 | 1e-18

## 110KW Solar (Above LT Room)
14181
From: | 2026-08-17 06:00 | Daily Report |  |  | To: | 2026-08-18 06:00 | 15
Slot No. | Timestamp | kWh | kVAh | kW | kVA | current | P.F.
Maximum | - | 0 | 0 | 0 | 0 | 0 | 0
Minimum | - | 0 | 0 | 0 | 0 | 0 | 0
Average | - | 0 | 0 | 0 | 0 | 0 | 0
Total | - | 0 | 0 | - | - | - | -
| 46251.25 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.2604 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.2708 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.2812 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.2917 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3021 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3125 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3229 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3333 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3438 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3542 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3646 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.375 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3854 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3958 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4062 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4167 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4271 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4375 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4479 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4583 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4688 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4792 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4896 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5104 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5208 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5312 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5417 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5521 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5625 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5729 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5833 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5938 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6042 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6146 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.625 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6354 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6458 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6562 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6667 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6771 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6875 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6979 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7083 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7188 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7292 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7396 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.75 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7604 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7708 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7812 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7917 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8021 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8125 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8229 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8333 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8438 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8542 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8646 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.875 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8854 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8958 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9062 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9167 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9271 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9375 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9479 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9583 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9688 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9792 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9896 | 0 | 0 | 0 | 0 | 0 | 0
| 46252 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0104 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0208 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0312 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0417 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0521 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0625 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0729 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0833 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0938 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1042 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1146 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.125 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1354 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1458 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1562 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1667 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1771 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1875 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1979 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.2083 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.2188 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.2292 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.2396 | 0 | 0 | 0 | 0 | 0 | 0

## 180kw Solar (hexa AHU area)
22958
From: | 2026-08-17 06:00 | Daily Report |  |  | To: | 2026-08-18 06:00 | 15
Slot No. | Timestamp | kWh | kVAh | kW | kVA | current | P.F.
Maximum | - | 19.1175 | 19.4764 | 78.7836 | 80.1383 | 112.6983 | 0.99946
Minimum | - | 0 | 0.2743 | 8e-20 | 1.0987 | 1.5631 | 1e-18
Average | - | 4.8878 | 5.1844 | 19.6408 | 20.8253 | 29.6162 | 0.4637
Total | - | 469.23 | 497.6988 | - | - | - | -
| 46251.25 | 0 | 0.30047 | 8e-20 | 1.1346 | 1.6246 | 1e-18
| 46251.2604 | 0.08838 | 0.72141 | 0.42538 | 3.1383 | 5.6834 | 0.12686
| 46251.2708 | 0.53445 | 1.3613 | 2.1286 | 5.428 | 7.7287 | 0.38545
| 46251.2812 | 1.3161 | 1.8516 | 5.4287 | 7.5748 | 10.6987 | 0.70637
| 46251.2917 | 2.0091 | 2.3722 | 8.2254 | 9.6419 | 13.7147 | 0.85204
| 46251.3021 | 2.5074 | 2.7947 | 9.9771 | 11.1386 | 15.9555 | 0.89091
| 46251.3125 | 3.1907 | 3.4207 | 12.8064 | 13.6975 | 19.7176 | 0.93287
| 46251.3229 | 4.763 | 4.9527 | 19.4106 | 20.2365 | 28.81 | 0.95889
| 46251.3333 | 6.1486 | 6.2791 | 24.8199 | 25.3653 | 36.1431 | 0.97801
| 46251.3438 | 7.7945 | 7.8206 | 31.2144 | 31.2806 | 44.9443 | 0.99787
| 46251.3542 | 10.4635 | 10.4743 | 43.009 | 43.0458 | 61.8737 | 0.99946
| 46251.3646 | 10.6382 | 10.6511 | 42.1621 | 42.3102 | 60.3459 | 0.99693
| 46251.375 | 12.8337 | 13.0864 | 51.2555 | 52.2847 | 74.2507 | 0.98047
| 46251.3854 | 13.8055 | 14.1123 | 53.5737 | 54.7535 | 77.9001 | 0.9783
| 46251.3958 | 15.5378 | 15.8822 | 62.2612 | 63.6553 | 89.3476 | 0.97811
| 46251.4062 | 16.0982 | 16.4402 | 64.5668 | 65.9645 | 92.9815 | 0.97879
| 46251.4167 | 14.9207 | 15.2404 | 59.748 | 61.096 | 85.9739 | 0.97747
| 46251.4271 | 18.1675 | 18.5277 | 74.3797 | 75.8125 | 106.7017 | 0.98107
| 46251.4375 | 19.1175 | 19.4764 | 78.7836 | 80.1383 | 112.6983 | 0.98306
| 46251.4479 | 17.5834 | 17.928 | 69.689 | 71.1017 | 100.6516 | 0.97932
| 46251.4583 | 14.279 | 14.4342 | 62.5375 | 63.1491 | 90.1185 | 0.99123
| 46251.4688 | 15.1871 | 15.4491 | 59.6671 | 60.6884 | 86.4139 | 0.98389
| 46251.4792 | 14.6829 | 14.9861 | 58.7059 | 59.9157 | 85.1476 | 0.97964
| 46251.4896 | 13.9426 | 14.2393 | 53.9577 | 55.2457 | 78.4293 | 0.97718
| 46251.5 | 16.119 | 16.5145 | 65.7245 | 67.3356 | 94.8229 | 0.97586
| 46251.5104 | 18.6128 | 19.0095 | 71.5612 | 73.1971 | 103.238 | 0.97716
| 46251.5208 | 8.905 | 9.0438 | 35.7142 | 36.0561 | 52.0012 | 0.99339
| 46251.5312 | 12.3752 | 12.5462 | 52.8089 | 53.3591 | 75.5202 | 0.99135
| 46251.5417 | 17.9638 | 18.363 | 71.6287 | 73.1391 | 103.4695 | 0.98028
| 46251.5521 | 16.602 | 16.954 | 68.5233 | 69.8504 | 98.9746 | 0.98038
| 46251.5625 | 16.1228 | 16.5108 | 62.6622 | 64.2188 | 90.8975 | 0.97514
| 46251.5729 | 11.4598 | 11.6221 | 46.3802 | 47.1955 | 67.249 | 0.98258
| 46251.5833 | 14.2816 | 14.6528 | 57.4601 | 58.8295 | 83.2438 | 0.97671
| 46251.5938 | 12.563 | 12.8114 | 50.0479 | 51.1181 | 72.7154 | 0.97914
| 46251.6042 | 12.8903 | 13.2391 | 51.1656 | 52.5729 | 75.0236 | 0.97319
| 46251.6146 | 12.1205 | 12.4333 | 48.8207 | 50.0671 | 71.743 | 0.97501
| 46251.625 | 11.7994 | 12.0225 | 46.5699 | 47.3765 | 67.954 | 0.98415
| 46251.6354 | 8.1363 | 8.1572 | 32.8454 | 32.9436 | 47.6661 | 0.99709
| 46251.6458 | 7.5757 | 7.5848 | 30.4479 | 30.4882 | 43.9333 | 0.99885
| 46251.6562 | 5.3709 | 5.4449 | 21.3215 | 21.6034 | 31.2134 | 0.98543
| 46251.6667 | 4.4793 | 4.6103 | 18.1848 | 18.8445 | 26.6485 | 0.96184
| 46251.6771 | 5.1402 | 5.2839 | 20.4973 | 21.0668 | 29.8239 | 0.97255
| 46251.6875 | 3.9771 | 4.2363 | 15.93 | 16.9735 | 23.9788 | 0.93738
| 46251.6979 | 3.5942 | 3.8411 | 14.37 | 15.358 | 21.6654 | 0.93493
| 46251.7083 | 4.5692 | 4.7791 | 18.1657 | 18.9669 | 26.8527 | 0.95764
| 46251.7188 | 3.7874 | 4.0217 | 15.2658 | 16.1974 | 23.0035 | 0.93951
| 46251.7292 | 2.6331 | 2.9374 | 10.5731 | 11.7389 | 16.6824 | 0.89873
| 46251.7396 | 1.5243 | 2.0161 | 6.1026 | 7.9532 | 11.3726 | 0.76128
| 46251.75 | 0.71799 | 1.515 | 2.8946 | 6.0013 | 8.5545 | 0.47414
| 46251.7604 | 0.15862 | 0.81317 | 0.58689 | 2.7116 | 7.242 | 0.23251
| 46251.7708 | 0.096632 | 0.90998 | 0.37412 | 4.2285 | 6.0481 | 0.088592
| 46251.7812 | 0.040168 | 0.6748 | 0.16052 | 2.7131 | 3.8668 | 0.036252
| 46251.7917 | 0 | 0.28381 | 8e-20 | 1.1445 | 1.6182 | 1e-18
| 46251.8021 | 0 | 0.2866 | 8e-20 | 1.1427 | 1.611 | 1e-18
| 46251.8125 | 0 | 0.28013 | 8e-20 | 1.1275 | 1.6039 | 1e-18
| 46251.8229 | 0 | 0.27707 | 8e-20 | 1.1213 | 1.6037 | 1e-18
| 46251.8333 | 0 | 0.27442 | 8e-20 | 1.1014 | 1.5769 | 1e-18
| 46251.8438 | 0 | 0.28276 | 8e-20 | 1.1195 | 1.5954 | 1e-18
| 46251.8542 | 0 | 0.28632 | 8e-20 | 1.1243 | 1.5967 | 1e-18
| 46251.8646 | 0 | 0.28643 | 8e-20 | 1.1317 | 1.6015 | 1e-18
| 46251.875 | 0 | 0.27463 | 8e-20 | 1.113 | 1.5947 | 1e-18
| 46251.8854 | 0 | 0.27474 | 8e-20 | 1.1012 | 1.5804 | 1e-18
| 46251.8958 | 0 | 0.2803 | 8e-20 | 1.1142 | 1.5924 | 1e-18
| 46251.9062 | 0 | 0.2806 | 8e-20 | 1.1202 | 1.5933 | 1e-18
| 46251.9167 | 0 | 0.28073 | 8e-20 | 1.1203 | 1.5912 | 1e-18
| 46251.9271 | 0 | 0.27667 | 8e-20 | 1.1098 | 1.5808 | 1e-18
| 46251.9375 | 0 | 0.28227 | 8e-20 | 1.1272 | 1.5992 | 1e-18
| 46251.9479 | 0 | 0.28242 | 8e-20 | 1.1357 | 1.603 | 1e-18
| 46251.9583 | 0 | 0.28261 | 8e-20 | 1.1336 | 1.5971 | 1e-18
| 46251.9688 | 0 | 0.2786 | 8e-20 | 1.0987 | 1.5695 | 1e-18
| 46251.9792 | 0 | 0.2743 | 8e-20 | 1.1168 | 1.5929 | 1e-18
| 46251.9896 | 0 | 0.2786 | 8e-20 | 1.1069 | 1.5754 | 1e-18
| 46252 | 0 | 0.27687 | 8e-20 | 1.111 | 1.5828 | 1e-18
| 46252.0104 | 0 | 0.27603 | 8e-20 | 1.101 | 1.5685 | 1e-18
| 46252.0208 | 0.002 | 0.2824 | 8e-20 | 1.1167 | 1.5856 | 1e-18
| 46252.0312 | 0 | 0.28255 | 8e-20 | 1.1157 | 1.5802 | 1e-18
| 46252.0417 | 0 | 0.28134 | 8e-20 | 1.1401 | 1.6086 | 1e-18
| 46252.0521 | 0 | 0.28067 | 8e-20 | 1.1257 | 1.5874 | 1e-18
| 46252.0625 | 0 | 0.28143 | 8e-20 | 1.1252 | 1.5888 | 1e-18
| 46252.0729 | 0 | 0.2826 | 8e-20 | 1.1283 | 1.5914 | 1e-18
| 46252.0833 | 0 | 0.28253 | 8e-20 | 1.1415 | 1.6085 | 1e-18
| 46252.0938 | 0 | 0.28245 | 8e-20 | 1.1163 | 1.5724 | 1e-18
| 46252.1042 | 0 | 0.28252 | 8e-20 | 1.1327 | 1.5944 | 1e-18
| 46252.1146 | 0 | 0.28356 | 8e-20 | 1.1151 | 1.5675 | 1e-18
| 46252.125 | 0 | 0.28134 | 8e-20 | 1.1271 | 1.5856 | 1e-18
| 46252.1354 | 0 | 0.2826 | 8e-20 | 1.1292 | 1.5896 | 1e-18
| 46252.1458 | 0 | 0.2823 | 8e-20 | 1.1285 | 1.5843 | 1e-18
| 46252.1562 | 0 | 0.28388 | 8e-20 | 1.1324 | 1.5897 | 1e-18
| 46252.1667 | 0 | 0.28128 | 8e-20 | 1.122 | 1.5785 | 1e-18
| 46252.1771 | 0 | 0.28234 | 8e-20 | 1.1254 | 1.5852 | 1e-18
| 46252.1875 | 0.002 | 0.28657 | 8e-20 | 1.125 | 1.5882 | 1e-18
| 46252.1979 | 0 | 0.27833 | 8e-20 | 1.1187 | 1.583 | 1e-18
| 46252.2083 | 0 | 0.27827 | 8e-20 | 1.0996 | 1.5631 | 1e-18
| 46252.2188 | 0 | 0.27876 | 8e-20 | 1.1153 | 1.5757 | 1e-18
| 46252.2292 | 0 | 0.27762 | 8e-20 | 1.1119 | 1.5769 | 1e-18
| 46252.2396 | 0 | 0.27529 | 8e-20 | 1.1111 | 1.5801 | 1e-18

## 230Kw Solar kit( chiller area 3
23137
From: | 2026-08-17 06:00 | Daily Report |  |  | To: | 2026-08-18 06:00 | 15
Slot No. | Timestamp | kWh | kVAh | kW | kVA | current | P.F.
Maximum | - | 27.876 | 28.5908 | 112.1812 | 133.8467 | 188.1615 | 1
Minimum | - | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
Average | - | 7.2095 | 7.6979 | 29.2627 | 32.2111 | 45.4352 | 0.45839
Total | - | 692.112 | 739 | - | - | - | -
| 46251.25 | 0 | 0.017233 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.2604 | 0.0072 | 1.3984 | 5.9999e-19 | 5.8533 | 8.2895 | 1e-18
| 46251.2708 | 0.5828 | 1.6866 | 1.9285 | 6.405 | 9.03 | 0.27953
| 46251.2812 | 1.8274 | 2.2818 | 7.1433 | 8.9518 | 12.5891 | 0.78997
| 46251.2917 | 2.7209 | 2.9898 | 11.1853 | 12.2869 | 17.3766 | 0.90896
| 46251.3021 | 3.4247 | 3.6163 | 13.6957 | 14.4588 | 20.5754 | 0.94365
| 46251.3125 | 4.4409 | 4.5755 | 17.7581 | 18.2188 | 26.1278 | 0.97398
| 46251.3229 | 7.0385 | 7.1613 | 27.9835 | 28.2482 | 39.9833 | 0.99038
| 46251.3333 | 9.4755 | 9.528 | 38.1194 | 38.3198 | 53.9745 | 0.99469
| 46251.3438 | 11.2142 | 11.2552 | 45.2012 | 45.3563 | 63.7427 | 0.99657
| 46251.3542 | 14.2536 | 14.3066 | 58.7604 | 58.8523 | 83.6208 | 0.99859
| 46251.3646 | 14.3942 | 14.4273 | 56.2946 | 56.4103 | 79.3905 | 0.9977
| 46251.375 | 17.4797 | 17.5047 | 68.3313 | 68.4237 | 95.9195 | 0.99886
| 46251.3854 | 18.8001 | 18.8193 | 74.7781 | 74.8407 | 105.7437 | 0.99965
| 46251.3958 | 21.1799 | 21.1951 | 84.8517 | 84.9037 | 118.4033 | 0.99985
| 46251.4062 | 22.0434 | 22.0721 | 88.2436 | 88.307 | 123.3902 | 0.99978
| 46251.4167 | 19.7196 | 19.7486 | 71.9828 | 72.1142 | 100.5032 | 0.99825
| 46251.4271 | 24.7027 | 24.7377 | 100.1375 | 100.2321 | 139.0968 | 0.99962
| 46251.4375 | 26.5512 | 26.573 | 107.6823 | 107.7604 | 150.1316 | 0.99975
| 46251.4479 | 24.0511 | 24.1054 | 90.5818 | 90.6836 | 127.4669 | 0.99909
| 46251.4583 | 19.4109 | 19.434 | 84.4213 | 84.5172 | 118.7806 | 0.99906
| 46251.4688 | 21.8531 | 21.8801 | 88.3592 | 88.5087 | 124.1775 | 0.99852
| 46251.4792 | 21.3274 | 21.3752 | 86.6848 | 86.8432 | 122.4087 | 0.9984
| 46251.4896 | 20.7853 | 20.806 | 83.111 | 83.1775 | 117.197 | 0.99966
| 46251.5 | 23.9008 | 23.9886 | 92.735 | 92.8602 | 129.9083 | 0.99885
| 46251.5104 | 27.8551 | 28.1883 | 112.1812 | 112.2678 | 157.1276 | 1
| 46251.5208 | 12.4909 | 13.2147 | 48.8385 | 49.041 | 68.1018 | 0.99447
| 46251.5312 | 18.3035 | 18.5055 | 73.7843 | 73.9424 | 103.0762 | 0.99724
| 46251.5417 | 27.876 | 28.5908 | 109.9855 | 110.0622 | 154.3299 | 0.99983
| 46251.5521 | 25.9613 | 26.4415 | 107.9829 | 108.1016 | 151.3587 | 0.99937
| 46251.5625 | 25.3161 | 26.2041 | 109.7239 | 118.2365 | 165.4922 | 0.96284
| 46251.5729 | 18.2601 | 20.3048 | 77.4479 | 96.9272 | 140.8033 | 0.89146
| 46251.5833 | 22.8144 | 25.6662 | 99.5835 | 133.8467 | 188.1615 | 0.8615
| 46251.5938 | 21.0853 | 27.0992 | 87.5172 | 120.5892 | 171.4941 | 0.86676
| 46251.6042 | 21.2862 | 25.5026 | 83.7364 | 94.1599 | 135.4727 | 0.9426
| 46251.6146 | 18.6709 | 23.0448 | 80.8338 | 118.5909 | 172.1921 | 0.82697
| 46251.625 | 17.7311 | 21.3556 | 68.145 | 68.2334 | 96.2937 | 0.99941
| 46251.6354 | 11.9664 | 13.3777 | 52.2894 | 71.9643 | 101.7942 | 0.9197
| 46251.6458 | 14.3261 | 17.0864 | 70.1075 | 128.133 | 184.3938 | 0.74964
| 46251.6562 | 10.2123 | 13.9287 | 37.9331 | 38.1037 | 54.167 | 0.99508
| 46251.6667 | 8.1768 | 9.0571 | 31.0606 | 31.3049 | 44.0863 | 0.99178
| 46251.6771 | 8.7879 | 10.3624 | 39.2633 | 61.5785 | 86.7983 | 0.90838
| 46251.6875 | 5.7761 | 5.9578 | 22.8624 | 23.217 | 32.8304 | 0.98393
| 46251.6979 | 5.2367 | 5.3898 | 20.9134 | 21.2928 | 29.8771 | 0.98179
| 46251.7083 | 6.4182 | 6.5052 | 26.1537 | 26.4185 | 37.056 | 0.98978
| 46251.7188 | 5.3894 | 5.4824 | 21.357 | 21.7312 | 30.871 | 0.98129
| 46251.7292 | 3.7813 | 3.9485 | 15.0731 | 15.7536 | 22.2973 | 0.95527
| 46251.7396 | 2.197 | 2.552 | 8.6568 | 10.0869 | 14.2971 | 0.85157
| 46251.75 | 0.9765 | 1.8973 | 3.8214 | 7.5822 | 10.8606 | 0.49167
| 46251.7604 | 0.00175 | 1.6923 | 5.9999e-19 | 6.7696 | 9.6202 | 1e-18
| 46251.7708 | 0.004 | 1.6591 | 5.9999e-19 | 6.4576 | 9.1899 | 1e-18
| 46251.7812 | 0 | 0.33587 | 5.9999e-19 | 1.3384 | 1.9056 | 1e-18
| 46251.7917 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.8021 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.8125 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.8229 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.8333 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.8438 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.8542 | 0.004 | 0.024 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.8646 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.875 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.8854 | 0.0049412 | 0.037882 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.8958 | 0.0010588 | 0.0081176 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.9062 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.9167 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.9271 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.9375 | 0.012 | 0.072 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.9479 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.9583 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.9688 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.9792 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46251.9896 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.0104 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.0208 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.0312 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.0417 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.0521 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.0625 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.0729 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.0833 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.0938 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.1042 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.1146 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.125 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.1354 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.1458 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.1562 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.1667 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.1771 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.1875 | 0.004 | 0.024 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.1979 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.2083 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.2188 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.2292 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18
| 46252.2396 | 0 | 0 | 5.9999e-19 | 0 | 5.9999e-16 | 1e-18

## Solar Near STP
40236
From: | 2026-08-17 06:00 | Daily Report |  |  | To: | 2026-08-18 06:00 | 15
Slot No. | Timestamp | kWh | kVAh | kW | kVA | current | P.F.
Maximum | - | 0.76187 | 0 | 3.0039 | 0 | 4.2618 | 0.99936
Minimum | - | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
Average | - | 0.14083 | 0 | 0.5577 | 0 | 0.85762 | 0.39966
Total | - | 13.52 | 0 | - | - | - | -
| 46251.25 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.2604 | 0 | 0 | 4e-20 | 0 | 0.12288 | 1e-18
| 46251.2708 | 0 | 0 | 4e-20 | 0 | 0.36982 | 1e-18
| 46251.2812 | 0 | 0 | 4e-20 | 0 | 0.42598 | 1e-18
| 46251.2917 | 0.016 | 0 | 0.10423 | 0 | 0.43979 | 0.33812
| 46251.3021 | 0.064 | 0 | 0.18326 | 0 | 0.53021 | 0.47689
| 46251.3125 | 0.064 | 0 | 0.28012 | 0 | 0.61826 | 0.64549
| 46251.3229 | 0.10788 | 0 | 0.30652 | 0 | 0.65194 | 0.66552
| 46251.3333 | 0.095208 | 0 | 0.36693 | 0 | 0.69014 | 0.75183
| 46251.3438 | 0.095151 | 0 | 0.40371 | 0 | 0.7353 | 0.77343
| 46251.3542 | 0.12711 | 0 | 0.48758 | 0 | 0.81234 | 0.85206
| 46251.3646 | 0.14329 | 0 | 0.52588 | 0 | 0.86482 | 0.85764
| 46251.375 | 0.1432 | 0 | 0.59561 | 0 | 0.97091 | 0.86714
| 46251.3854 | 0.1432 | 0 | 0.60947 | 0 | 1.0066 | 0.85881
| 46251.3958 | 0.1431 | 0 | 0.6548 | 0 | 1.0227 | 0.89588
| 46251.4062 | 0.1913 | 0 | 0.72299 | 0 | 1.1153 | 0.90819
| 46251.4167 | 0.22784 | 0 | 0.91932 | 0 | 1.3972 | 0.91905
| 46251.4271 | 0.43808 | 0 | 1.6756 | 0 | 2.4482 | 0.96849
| 46251.4375 | 0.56976 | 0 | 2.1088 | 0 | 3.0014 | 0.99447
| 46251.4479 | 0.53927 | 0 | 1.8238 | 0 | 2.6256 | 0.98549
| 46251.4583 | 0.41593 | 0 | 1.7268 | 0 | 2.4874 | 0.99104
| 46251.4688 | 0.4616 | 0 | 1.8351 | 0 | 2.6454 | 0.99705
| 46251.4792 | 0.51008 | 0 | 1.9932 | 0 | 2.8676 | 0.99764
| 46251.4896 | 0.48444 | 0 | 1.9713 | 0 | 2.8441 | 0.99477
| 46251.5 | 0.54051 | 0 | 2.1738 | 0 | 3.1151 | 0.99523
| 46251.5104 | 0.7162 | 0 | 2.9199 | 0 | 4.14 | 0.99881
| 46251.5208 | 0.25758 | 0 | 1.2797 | 0 | 1.8782 | 0.91888
| 46251.5312 | 0.42229 | 0 | 1.5239 | 0 | 2.1798 | 0.9739
| 46251.5417 | 0.76187 | 0 | 3.0039 | 0 | 4.2618 | 0.99843
| 46251.5521 | 0.71889 | 0 | 2.7988 | 0 | 3.9679 | 0.99936
| 46251.5625 | 0.62448 | 0 | 2.5299 | 0 | 3.5944 | 0.9962
| 46251.5729 | 0.4455 | 0 | 1.7319 | 0 | 2.483 | 0.98221
| 46251.5833 | 0.5572 | 0 | 2.1576 | 0 | 3.0694 | 0.99876
| 46251.5938 | 0.4768 | 0 | 1.9099 | 0 | 2.7444 | 0.9981
| 46251.6042 | 0.51638 | 0 | 2.0571 | 0 | 2.9527 | 0.99835
| 46251.6146 | 0.43754 | 0 | 1.7478 | 0 | 2.5306 | 0.99794
| 46251.625 | 0.43043 | 0 | 1.6495 | 0 | 2.3889 | 0.99369
| 46251.6354 | 0.25468 | 0 | 1.0868 | 0 | 1.6209 | 0.95035
| 46251.6458 | 0.3504 | 0 | 1.3305 | 0 | 1.9454 | 0.97481
| 46251.6562 | 0.20171 | 0 | 0.85199 | 0 | 1.285 | 0.92719
| 46251.6667 | 0.17521 | 0 | 0.72919 | 0 | 1.1481 | 0.87836
| 46251.6771 | 0.16253 | 0 | 0.73252 | 0 | 1.1173 | 0.91435
| 46251.6875 | 0.12391 | 0 | 0.46511 | 0 | 0.80951 | 0.80077
| 46251.6979 | 0.0952 | 0 | 0.41491 | 0 | 0.72383 | 0.8017
| 46251.7083 | 0.11135 | 0 | 0.4898 | 0 | 0.8345 | 0.82815
| 46251.7188 | 0.11089 | 0 | 0.35857 | 0 | 0.63763 | 0.78949
| 46251.7292 | 0.047525 | 0 | 0.22618 | 0 | 0.47414 | 0.67091
| 46251.7396 | 0.00047525 | 0 | 0.07476 | 0 | 0.42607 | 0.24274
| 46251.75 | 0 | 0 | 4e-20 | 0 | 0.42118 | 1e-18
| 46251.7604 | 0 | 0 | 4e-20 | 0 | 0.41766 | 1e-18
| 46251.7708 | 0 | 0 | 4e-20 | 0 | 0.47 | 1e-18
| 46251.7812 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.7917 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.8021 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.8125 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.8229 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.8333 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.8438 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.8542 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.8646 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.875 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.8854 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.8958 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.9062 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.9167 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.9271 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.9375 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.9479 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.9583 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.9688 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.9792 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46251.9896 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.0104 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.0208 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.0312 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.0417 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.0521 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.0625 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.0729 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.0833 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.0938 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.1042 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.1146 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.125 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.1354 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.1458 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.1562 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.1667 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.1771 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.1875 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.1979 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.2083 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.2188 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.2292 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18
| 46252.2396 | 0 | 0 | 4e-20 | 0 | 4e-17 | 1e-18

## Solar Near Gate-1 Pathway Stair
40237
From: | 2026-08-17 06:00 | Daily Report |  |  | To: | 2026-08-18 06:00 | 15
Slot No. | Timestamp | kWh | kVAh | kW | kVA | current | P.F.
Maximum | - | 7.8368 | 0 | 31.2964 | 0 | 43.7672 | 0.99886
Minimum | - | 0 | 0 | 4e-20 | 0 | 0.37809 | 1e-18
Average | - | 1.9273 | 0 | 7.6987 | 0 | 11.3694 | 0.45427
Total | - | 185.024 | 0 | - | - | - | -
| 46251.25 | 0 | 0 | 4e-20 | 0 | 0.37996 | 1e-18
| 46251.2604 | 0 | 0 | 0.1059 | 0 | 3.0805 | 0.049938
| 46251.2708 | 0.128 | 0 | 0.62655 | 0 | 3.8418 | 0.22885
| 46251.2812 | 0.384 | 0 | 1.5627 | 0 | 4.3102 | 0.50221
| 46251.2917 | 0.768 | 0 | 2.8367 | 0 | 5.3177 | 0.74955
| 46251.3021 | 0.896 | 0 | 3.3633 | 0 | 5.9067 | 0.80494
| 46251.3125 | 1.088 | 0 | 4.2959 | 0 | 7.0442 | 0.86625
| 46251.3229 | 1.4016 | 0 | 5.496 | 0 | 8.5269 | 0.90836
| 46251.3333 | 1.6704 | 0 | 6.7621 | 0 | 10.2366 | 0.93162
| 46251.3438 | 1.9936 | 0 | 7.7733 | 0 | 11.5735 | 0.94142
| 46251.3542 | 2.5664 | 0 | 10.0986 | 0 | 14.7918 | 0.97979
| 46251.3646 | 2.7584 | 0 | 11.0488 | 0 | 16.0202 | 0.98017
| 46251.375 | 3.5264 | 0 | 13.8245 | 0 | 19.8757 | 0.97715
| 46251.3854 | 4.016 | 0 | 16.0477 | 0 | 23.0323 | 0.98071
| 46251.3958 | 5.1968 | 0 | 20.6867 | 0 | 29.0966 | 0.98675
| 46251.4062 | 5.3888 | 0 | 21.7595 | 0 | 30.6443 | 0.98811
| 46251.4167 | 5.1424 | 0 | 20.8693 | 0 | 29.4113 | 0.98671
| 46251.4271 | 6.3456 | 0 | 25.2347 | 0 | 35.3872 | 0.99021
| 46251.4375 | 6.9312 | 0 | 27.8461 | 0 | 38.8722 | 0.99748
| 46251.4479 | 6.7328 | 0 | 27.0272 | 0 | 38.0279 | 0.99561
| 46251.4583 | 5.5845 | 0 | 22.2391 | 0 | 31.5655 | 0.99068
| 46251.4688 | 6.4795 | 0 | 25.8092 | 0 | 36.4458 | 0.99624
| 46251.4792 | 6.2912 | 0 | 24.9884 | 0 | 35.2647 | 0.99495
| 46251.4896 | 5.758 | 0 | 23.2741 | 0 | 32.8262 | 0.99217
| 46251.5 | 7.01 | 0 | 28.0897 | 0 | 39.2576 | 0.99633
| 46251.5104 | 7.7056 | 0 | 30.5739 | 0 | 42.6935 | 0.99729
| 46251.5208 | 3.6288 | 0 | 14.2884 | 0 | 20.4219 | 0.95997
| 46251.5312 | 5.3152 | 0 | 21.6658 | 0 | 30.4266 | 0.98325
| 46251.5417 | 7.8368 | 0 | 31.2964 | 0 | 43.7672 | 0.99886
| 46251.5521 | 7.4392 | 0 | 29.8542 | 0 | 41.8715 | 0.99706
| 46251.5625 | 6.8968 | 0 | 27.3386 | 0 | 38.3964 | 0.99097
| 46251.5729 | 5.0752 | 0 | 20.3079 | 0 | 28.7718 | 0.98546
| 46251.5833 | 6.7389 | 0 | 27.0273 | 0 | 37.8952 | 0.99261
| 46251.5938 | 5.9011 | 0 | 23.7577 | 0 | 33.5839 | 0.99062
| 46251.6042 | 6.4972 | 0 | 25.8305 | 0 | 36.4981 | 0.99668
| 46251.6146 | 5.5695 | 0 | 22.2265 | 0 | 31.6528 | 0.99094
| 46251.625 | 5.4629 | 0 | 21.7655 | 0 | 30.8692 | 0.9907
| 46251.6354 | 3.6192 | 0 | 14.5117 | 0 | 20.9005 | 0.97644
| 46251.6458 | 4.2944 | 0 | 17.1381 | 0 | 24.5081 | 0.98132
| 46251.6562 | 3.0176 | 0 | 11.7896 | 0 | 17.0677 | 0.96547
| 46251.6667 | 2.3127 | 0 | 9.4408 | 0 | 13.8605 | 0.94698
| 46251.6771 | 2.5681 | 0 | 10.4011 | 0 | 15.118 | 0.95753
| 46251.6875 | 1.548 | 0 | 5.9341 | 0 | 9.0119 | 0.94981
| 46251.6979 | 1.3152 | 0 | 5.2314 | 0 | 8.0235 | 0.93097
| 46251.7083 | 1.6 | 0 | 6.376 | 0 | 9.647 | 0.97817
| 46251.7188 | 1.28 | 0 | 4.8913 | 0 | 7.5884 | 0.95224
| 46251.7292 | 0.704 | 0 | 2.982 | 0 | 5.1478 | 0.95247
| 46251.7396 | 0.32 | 0 | 1.2679 | 0 | 3.4011 | 0.65328
| 46251.75 | 0.256 | 0 | 1.0974 | 0 | 4.0304 | 0.37852
| 46251.7604 | 0.064 | 0 | 0.23305 | 0 | 3.87 | 0.11003
| 46251.7708 | 0 | 0 | 0.17775 | 0 | 3.6095 | 0.18601
| 46251.7812 | 0 | 0 | 4e-20 | 0 | 1.1908 | 1e-18
| 46251.7917 | 0 | 0 | 4e-20 | 0 | 0.38459 | 1e-18
| 46251.8021 | 0 | 0 | 4e-20 | 0 | 0.38791 | 1e-18
| 46251.8125 | 0 | 0 | 4e-20 | 0 | 0.38303 | 1e-18
| 46251.8229 | 0 | 0 | 4e-20 | 0 | 0.38056 | 1e-18
| 46251.8333 | 0 | 0 | 4e-20 | 0 | 0.3816 | 1e-18
| 46251.8438 | 0 | 0 | 4e-20 | 0 | 0.38592 | 1e-18
| 46251.8542 | 0 | 0 | 4e-20 | 0 | 0.38639 | 1e-18
| 46251.8646 | 0 | 0 | 4e-20 | 0 | 0.38868 | 1e-18
| 46251.875 | 0 | 0 | 4e-20 | 0 | 0.38408 | 1e-18
| 46251.8854 | 0 | 0 | 4e-20 | 0 | 0.38221 | 1e-18
| 46251.8958 | 0 | 0 | 4e-20 | 0 | 0.38332 | 1e-18
| 46251.9062 | 0 | 0 | 4e-20 | 0 | 0.38231 | 1e-18
| 46251.9167 | 0 | 0 | 4e-20 | 0 | 0.38354 | 1e-18
| 46251.9271 | 0 | 0 | 4e-20 | 0 | 0.38396 | 1e-18
| 46251.9375 | 0 | 0 | 4e-20 | 0 | 0.3839 | 1e-18
| 46251.9479 | 0 | 0 | 4e-20 | 0 | 0.38325 | 1e-18
| 46251.9583 | 0 | 0 | 4e-20 | 0 | 0.38748 | 1e-18
| 46251.9688 | 0 | 0 | 4e-20 | 0 | 0.38068 | 1e-18
| 46251.9792 | 0 | 0 | 4e-20 | 0 | 0.38014 | 1e-18
| 46251.9896 | 0 | 0 | 4e-20 | 0 | 0.38071 | 1e-18
| 46252 | 0 | 0 | 4e-20 | 0 | 0.38035 | 1e-18
| 46252.0104 | 0 | 0 | 4e-20 | 0 | 0.3782 | 1e-18
| 46252.0208 | 0 | 0 | 4e-20 | 0 | 0.38214 | 1e-18
| 46252.0312 | 0 | 0 | 4e-20 | 0 | 0.37957 | 1e-18
| 46252.0417 | 0 | 0 | 4e-20 | 0 | 0.38564 | 1e-18
| 46252.0521 | 0 | 0 | 4e-20 | 0 | 0.38497 | 1e-18
| 46252.0625 | 0 | 0 | 4e-20 | 0 | 0.38198 | 1e-18
| 46252.0729 | 0 | 0 | 4e-20 | 0 | 0.38587 | 1e-18
| 46252.0833 | 0 | 0 | 4e-20 | 0 | 0.38751 | 1e-18
| 46252.0938 | 0 | 0 | 4e-20 | 0 | 0.38958 | 1e-18
| 46252.1042 | 0 | 0 | 4e-20 | 0 | 0.38749 | 1e-18
| 46252.1146 | 0 | 0 | 4e-20 | 0 | 0.38282 | 1e-18
| 46252.125 | 0 | 0 | 4e-20 | 0 | 0.3854 | 1e-18
| 46252.1354 | 0 | 0 | 4e-20 | 0 | 0.38554 | 1e-18
| 46252.1458 | 0 | 0 | 4e-20 | 0 | 0.38542 | 1e-18
| 46252.1562 | 0 | 0 | 4e-20 | 0 | 0.38896 | 1e-18
| 46252.1667 | 0 | 0 | 4e-20 | 0 | 0.38388 | 1e-18
| 46252.1771 | 0 | 0 | 4e-20 | 0 | 0.38876 | 1e-18
| 46252.1875 | 0 | 0 | 4e-20 | 0 | 0.38261 | 1e-18
| 46252.1979 | 0 | 0 | 4e-20 | 0 | 0.38621 | 1e-18
| 46252.2083 | 0 | 0 | 4e-20 | 0 | 0.38151 | 1e-18
| 46252.2188 | 0 | 0 | 4e-20 | 0 | 0.38474 | 1e-18
| 46252.2292 | 0 | 0 | 4e-20 | 0 | 0.38669 | 1e-18
| 46252.2396 | 0 | 0 | 4e-20 | 0 | 0.37809 | 1e-18

## Solar Near Parking Area
40238
From: | 2026-08-17 06:00 | Daily Report |  |  | To: | 2026-08-18 06:00 | 15
Slot No. | Timestamp | kWh | kVAh | kW | kVA | current | P.F.
Maximum | - | 0 | 0 | 0 | 0 | 0 | 0
Minimum | - | 0 | 0 | 0 | 0 | 0 | 0
Average | - | 0 | 0 | 0 | 0 | 0 | 0
Total | - | 0 | 0 | - | - | - | -
| 46251.25 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.2604 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.2708 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.2812 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.2917 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3021 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3125 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3229 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3333 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3438 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3542 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3646 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.375 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3854 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.3958 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4062 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4167 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4271 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4375 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4479 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4583 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4688 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4792 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.4896 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5104 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5208 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5312 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5417 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5521 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5625 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5729 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5833 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.5938 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6042 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6146 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.625 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6354 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6458 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6562 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6667 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6771 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6875 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.6979 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7083 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7188 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7292 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7396 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.75 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7604 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7708 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7812 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.7917 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8021 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8125 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8229 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8333 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8438 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8542 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8646 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.875 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8854 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.8958 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9062 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9167 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9271 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9375 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9479 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9583 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9688 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9792 | 0 | 0 | 0 | 0 | 0 | 0
| 46251.9896 | 0 | 0 | 0 | 0 | 0 | 0
| 46252 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0104 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0208 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0312 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0417 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0521 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0625 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0729 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0833 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.0938 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1042 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1146 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.125 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1354 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1458 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1562 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1667 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1771 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1875 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.1979 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.2083 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.2188 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.2292 | 0 | 0 | 0 | 0 | 0 | 0
| 46252.2396 | 0 | 0 | 0 | 0 | 0 | 0

## meta_sheet
6:00
15
2026-08-17
2026-08-18
1457